Product Catalogue

Shockwave Therapy                                        Class 4 Laser Therapy

9009740116                                                                                           9520241632

Combination Therapy

Regd.Off: 448 A 1st  Floor Near Shree Ram Chowk Nyay Khand 3 Indirapuram Ghaziabad- 201014

E-mail: Healspringphysio@gmail.com

Combination Therapy/Electro & Utrasound Therapy

The BTL-4825SL PREMIUM is a high-tech 2-channel electrotherapy device with an extended current range. It also features a 1-channel ultrasound offering the latest industry-leading technology. With convenient body parts navigation, QUICK protocols, and portability with battery operation, it’s a versatile solution for effective physiotherapy and rehabilitation.

Main features of BTL-4825S Premium

• Large 7″ colour touch screen!`

• QUICK protocols

• Body Parts navigation

• Preset protocols and therapeutic encyclopaedia

• Patient database

ELECTROTHERAPY

• The largest range of waveforms available on the market

• Programmable sequences

• High Voltage therapy

• Constant Current and Constant Voltage modes

ULTRASOUND THERAPY

• Ergonomic heads with visual accessory identification / visual patient contact indicator

• Heated multi-frequency applicators: 1 and 3 MHz available

• Simultaneous treatment with 1 and 3 MHz

HOME VISIT PHYSIO KIT

Physio TENS/EMS/IFT/RUSS Device (4 therapies in a device) IFT is Interferential Current. RUSS is Russian Stimulation. TENS and EMS belong to low frequency. The frequency is generally between 1-300 Hz. IFT and RUSS are belonged to medium-high frequency. The frequency between 2000-5000Hz

1. A total of 60 programs (Mode).

2. TENS：23 fixed + 2 adjustable programs.

3. EMS： 13 fixed + 2 adjustable programs.

4. IFT: 8 fixed + 2 adjustable programs.

5. RUSS: 8 fixed + 2 adjustable programs.

6. Adjustable intensity：0 - 120 levels. Max: 120mA.

7. Adjustable working time：5 - 90 minutes. 1min/step.

8. Mode and intensity of two-channel can be controlled separately.

9. Customers can adjust parameters according to their own needs

10. The frequency and pulse width of each program displayed on the display screen.

|  | Class 4 Laser Therapy Machine is a powerful and professional-grade solution designed to deliver non-invasive, fast-acting pain relief. Engineered for use in physiotherapy clinics, chiropractic practices, and rehabilitation centers, this device utilizes high-intensity laser energy to penetrate deep into tissues, stimulating cellular activity, reducing inflammation, and accelerating the healing process. With its wavelength technology (980nm), this advanced system is ideal for treating a wide range of conditions including chronic back pain, arthritis, joint pain, muscle injuries, tendonitis, and nerve inflammation. The device comes with a user-friendly touchscreen, pre-programmed therapy modes, and adjustable power settings, making it suitable for both new and experienced practitioners. Safe, effective, and clinically tested, this Class IV Laser Therapy Machine offers a drug-free and surgery-free alternative to pain management-making it a smart investment for any professional healthcare setting. Type; Tabletop. Usage/Application; Pain Relief. Material; ABS Plastic. Brand; China. Frequency; 450 Hz. Wave Length; 980 Nm. Features; Class 4 Laser High Intensity Performance. Weight; 5 kg. |
| --- | --- |
|  | Class 4 Therapy Laser Experience the power of advanced laser therapy. TheBioTheraX-SuperLaser delivers deep tissue stimulation with a high-power 2080 mW output, ensuring faster recovery and pain relief. Designed for professionals, it combines precision, safety,and efficiency, ideal for physiotherapy, sports rehab, and clinical use. Powerful performance. Reliable results. Premium design. Laser Power - Up to 10W Laser Wavelength - 980nm Laser Type - Diode Laser Screen Size - 10" HD Touch Screen Operating Voltage - 220-240V |

Extra Corporial Shockwave Therapy

Engineered for performance. The BioTheraX-AirShock is a heavy-duty pneumatic shockwave system built for busy physiotherapy centres. Its robust design, stable pressure output, and long service life ensure consistent, powerful treatments for deep tissue and chronic pain cases.

High power. Heavy-duty build. Professional results                         Shockwave Energy - 1 Bar to 10 Bar

Shockwave Freq. - 1 to 21 Hz

Screen Size - 8" HD Screen

Operating Voltage - 220-240V

Focused Shockwave Therapy System

The BioTheraX-Focus delivers concentrated acoustic energy deep into tissues to accelerate healing, break down calcifications, and relieve chronic pain. Built for high-performance physiotherapy and rehabilitation, it offers accurate control, fast results, and exceptional patient comfort.

Focused power. Faster recovery. Proven results.

Penetration Depth - 0-70mm

Screen Size - 10.1"  Android HD Touch Screen

Operating Voltage - 220-240V AC

Rated Power - 500W

|  | Extra Corporial Shockwave Therapy Machine Deep tissue pain relief for muscles, joints, and tendons Chronic Pain & Injury Recovery: Helps reduce stiffness, inflammation, and muscle tightness. Improves Blood Circulation: Promotes natural healing and faster. Professional Physiotherapy Device: Suitable for clinics, sports rehab, and hospitals. Non-Invasive Pain Relief Therapy: Advanced treatment without surgery or medicines. Heavy-Duty & Reliable Design: Built for continuous professional use. Type; Radial shockwave therapy. Usage/Application; Hospital. Model Name/Number; Q80. Brand; Chaina. Product Type; Pneumatic Shockwave Therapy Machine. Voltage; AC 220V. Frequency; 21Hz. Power; 350W Max. Display; Digital Touch Screen. Weight; 12.7 Kg. Shock Limit Minimum; 10 Lac Shock. |
| --- | --- |

EMG BIOFEEDBACK WITH FES AND GAMING SOFTWARE

Myo Plus 4PRO, from Verity Medical U.K2 Channel EMG and 4 Channel NMES + ETS

Successfully used to treat conditions including Incontinence, Patellofemoral Pain, Myofascitis, Myofascial Pain, Phantom Limb Pain, Neck & Shoulder Girdle Pain and Repetitive Strain Injury.

Pre-set programs for Neuromuscular Rehab, Sports Rehab, Urology/ Gynaecology

EMG Triggered Stimulation mode (ETS) - is especially useful for stroke rehabilitation and Pelvic Muscle improvement. ETS is a combination of voluntary contractions with stimulation.

The graph shows the muscular report and the stimulation is triggered automatically to support the effort.

Urinary Incontinence

MyoStim+

The Biofeedback neuromuscualar stimulator KM 580 uses the principles of neuromuscular electrical stimulation and biofeedback therapy and has singificant therapeutic effects on patients with sports dyfunction and postpartum rehabilitating.

SPECIFICATIONS

EMG

2 EMG Test

1 EMGWork & Rest Training

5 Templates Traning

6 EMG Games

1 ETS

Mirror

10 Mirror Therapy modes

STIM

10 Pre-set & custom for Swallow

10 Pre-set and customer of TENS and Pain Relief

10 Custom modes for NMES

10 Custom modes for FES

3.5 Inch color touch display

Reachargeable

Dual Channel EMG ETS / Four Channel STM

Intensity 0-99 levels.

TECAR THERAPY

Easy to Operate: Quickly adjust treatment with capacitive and resistive modes.

Multi-Functional Beauty Device: Versatile device for skin tightening, fat reduction, and lymphatic drainage.

India Tecar|Indiba Tecar 448k|448K Tecar Therapy: Harness the power of 448K Tecar Therapy for rapid tissue repair and pain management.

Clinically Proven Results: Backed by clinical studies for effective face, neck, and body care.

Acrylic Material: Durable acrylic build ensures longevity and easy maintenance.

INTERMITTENT PNEUMATIC COMPRESSION THERAPY

Lx9- Sequential Intermittent Pneumatic Compression System

4 chamber compression system with four massage programs

Mode setting: A-D

Pressure setting: 20-200 mmHg , Timing:  Up to 90 Min ,  Skip Chamber function

HIGH ENERGY INDUCTIVE THERAPY (MAGNETIC THERAPY)

ELBO/ KNEE CPM/ Ankle CPM

Elbow CPM assists in elbow joint recovery by offering simple range-of-motion adjustment.

This mechanical device ensures reliability without the need for intricate programming.

Customizable Range: Easily tailor the range of motion to each patient’s specific requirements.

Smooth & Quiet Operation: Designed for comfortable therapy sessions with minimal noise.

Sturdy Arm Support: Ensures secure positioning of the patient’s arm for consistent treatment.

Built to Last: Boasts a durable construction to withstand clinical use over time.

Benefits : Speedy Recovery: The device’s gentle, continuous motion accelerates post-surgery elbow

SHORT WAVE DIATHERMY

OUR PRODUCT IS COILE BASES TRANSFER IN HEAVY, 2 PC TRANSFER one pic for componrnt control ALL COMPONENT IS PHILIPS AND SAMSUNG USED AND HEAVT WIRE AND COIL OR BODY / USED FEQUENCY IS Generator Frequency – 27.12 MHz

Pulse Wind -400 u sec

Continuous -500 W( Adj in 5 steps )

Pulse Frequency -50-500 Hz (10 steps)

Pulse -1000 W ( Adj in 5 step )

Time -0-99 min Digital Time

Power generation via a high efficincy microprocessor controlled, solid state amplifire

Fully adjustable pulse rate and pulse width

Selectable continuous and pulsed power modes

500 Watt in Pulsed mode

Automatic Resonance Tuning System

Automatic monitoring of distributed energy transfer to applicators

Modular desing easy assembling of applicators through modular sections and easy service process

Microwave Wave Diathermy

Specification

Graphic 9 inch LCD TFT display

Integrated serial controller

microprocessors

Maximum power higher than 1600 W (in pulsed mode)

30 protocols stored in memory

Features

Size (LxHxD) 110 x 40 x 40 CM

Weight40kg

Power Voltage 230 V 50/60/Hz upon request 115V 50/50/60Hz

Absorbed power-900W

Fuse 6.3 A

Isolation classification I type BF

Degree of protection from liquids - IPXO

Power supplied - 250 W (Continuous) 1600 W (pulsed) 2500 CP

Longwave Diathermy

equipment is a computerised, used - friendly product manufactured by HMS. Longwave Diathermy machine is designed based on the capacitor field method It can work even during heavy voltage fluctuation. Longwave Diathermy can be used as alternative to Shortwave Diathermy Application. It is portable and

lightweight. Microcontroller based. Large LCD display. Touch free capsence keys. Plastic moulded light weight cabinet. Wide input voltage. Electrode size 30,50 &60 mm. Model: Spotcure Longwave diathermy. Operation Mode: Electrical. Usage: Clinical, Hospital Personal

SPECIFICATION. Output Frequency -1 MHz. Output Power - 1 Watt/100 Ohm. Adj. in 15 steps. Output Mode – Continuous / Pulsed. Output Wavelength- 300 meter. Pulse Freq. -100 Hz (4 Steps)

Display -128 x 64 Graphic LCD Display. Time -0-60 min

CRYO COOLING MACHINE

Skin surface pain relief

Cold Air Skin Cooling

The machine uses cooled air to effectively treat pain swelling and relax muscles. The system allows for precise targeting and cinstant diose cryotherepy every time. The device not any consumables and provides high power. This allows for rapid reduction of epidermal temperature while maintaining the ability to operate throughout the day.

Unlike other cooling methods, the machine can reduce skin temperature faster, reduce the risk of skin burns,and mainatain a constant dose throughout the treatment.

SOFTWARES

- Fan Setting - 1-9 levels

- Temperature - Displays tempareture

- Defrost - Aftre working continuously for about 2 hours,it can be used

- Cooling   - Press to work

PARAMETERS

- Power                                              1600W

- Lowest Cooling Temp.            -35°c

- Energy Mode                                 1-5 Levels Adjudtable

- Technology                                    Refrigeration Technoligy

- Weight                                             73 Kg

PRECAUTION - Do not blow the same part for a long time to avoid frostbite.

- The height of the tuyere from the skin should be above 8 cm to prevent frostbite.

- When transporting, water must be released, and the inclination angle is not more then 30°

- Do not use alcohol to scrub the panel to prevent the handwriting from falling off.

- Don’t switch on frequentyl. The time interval between two boots should not be less than 3 minutes

Bobo motion 2.0 / Vertual Reality

The Bobo motion is a wearable motion sensor that enables real-time measurement of a patient’s range of motion and provide expert guidance during exercise execution.

Specifications

- In the Box

- LED & audio indicators

- Sensors:                                 3-axis acceleromter, gyroscope

- Operating temp:                  5°C to 45°C (23 °F  to 113 °F)

- Wireless connection to tablets and smartphone

- Battery Tyep:                          Coin CR2032 3V – Non Rechargeable

- Battert Life  :                          Approx 400 hours of continuous use

- Communication module:   Bluetooth low energy (BLE)

Bobo Dice

Smart Dice

Wireless connection to smartphone or tablet

Modules : Bluetooth low energy (BT5.0)

LED indicator : colorful lights system

Power : DC5.5V Super Capacitor + USB 5 VDC

Sensor : 3 axis accelerometer. 3D Sensor (contact less)

continuously track dice state

Manufacturer recommended age : 8 years up

Low power consumotion : 2h of play with a 10 sec charge

Material : High quality materials, Plastic ABS (dice)and SLA (dice shells

General Info :

- Package Weight : 200 gr

- D6 Weight : Big – 44 gr /Small -12 gr

- Package Dimensiond : 18x5 12 cm

- Dice Dimensions : Big – 34mm / Small -24mm

BoBo Dice App:

- Requires iOS 13 and up or Android 6 and up

- Includes game, training evaluation and stats

COMPUTRIZED BALANCE TRAINER

* Premium wooden smart balance board (19.6" x 13.7") iOS/Android App with predefined training programs & 14 balance games

* Multiple patients dashboard

* Wearable Bluetooth motion sensor with 3 Velcro Straps

* ROM assessment and training

* Cycling speedometer trainer

* Holds up to 450 lbs

TRCTION TABLE

Four fold with pelvic traction sliding Adjustable backrest and foot section down	 Sliding section can we locked Contoured Face / Nose opening

Traction fittings height can be adjustable MS with powder coated, Cushion Top with resin cover, Foot stool optional, Seamless rounded corner top, Easy bolt through- assembly, Table

BOBATH TABLE

Extremely Strong and rigid construction

Lifting capacity of 250 Kgs

Contoured Face / Nose Opening

Height Minimum 48 Cms – Maximum 110 Cms

Hand held remote control for high-low adjustable

All pivot points are fitted with bearing

Seamless rounded corner top

220V / 50Hz Table top size (L*W) - 200cm*73cm

Lifting Speed      - 25 Sec. Approximately

HIGH – LOW TILTING TABLE

HIGH – LOW TILTING TABLE Fully equipped for Rehabilitation and mobility purposes Electric height adjustments, easy to move with castors

Elevated frams to allow proper lifter positioning

Heavy duty motor lift up to 250 Kgs

Powder coated frames that prevents rusting and scratching

Remote control for up-down adjustments

Angle indicator

Three extra wide movable patient positioning straps with locking swivel casters

Removable foot rest

Safe working load with lifting and tilting capacity of 250 kgs

Electric height and tilting operation with hand switch control

Adjustable angle dual footboards-positive & negative (+15 to 30)

Worktable supplied with standard model-optional with economy model

Supplied with patient handgrips and set of harnesses

Height range 47cm to 101 cm (18-39”) Tilt angle from horizontal to 90 degrees vertical

Lowers to wheelchair height for ease of patient transfer

Tilt angle inclinometer fitted as standard

Purpose made precision bearings on all pivot points

Clearance beneath frame from for mobile hoist

TILT TABLE

Elevated frames to allow proper lifting

Heavy duty motor lift up to 150 Kg

Powder coated frames that resist rusting and scratching

Remote control for tilt adjustment’s

Three extra wide movable patient positioning straps

UN WEIGHING SYSTEM - GAIT TRAINER

Bewell Medicals GAIT TRAINING SYSTEM is used to reduce of whole body to lower limps of patient while thought hanging belts so as safety mainly used for those patients as arthritis lower limp’s disability pain and spasm caused by nervous system dysfunction and help patients walking function                                                                                       SPECIFICATION

Dual motor function Frame - Heavy duty metal

Remote control function   Height of main frame - 225cm

Hanging scale for weight display Weighing capacity - 250kgs

Heavy duty lockable caster wheel, Hanging lifting range - 0-70 cm

Treadmill can be attached, Lifting mechanism - Electric DC 0perated imported motor

Life patient up to 200kgs, Recommended treadmill - Slow medical treadmill, Dimensions - 220V/50 Hz Operating voltage - L x B x H -100 x 110 x 225cm

MULTI EXCERSER

Multi-function exerciser for those who don’t have more space. More than one exercise can do at time

Quadriceps

Shoulder pulley

Shoulder wheel

Finger ladder

Supinator / pronator

Adjustable back rest

MS Powder coating

SHOULDER WHEELS DELUX & REGULAR

MS power coated Friction adjustable

Height can adjusted by a single knob

Easily adjustable hand

360`rotation with degree marking only in deluxe model

Tubular steel constructed wheel is fitted with resistance Mechanism

Resistance can be controlled, Diameter deluxe 90 cm, Regular 75 cms

PARALLEL BAR WITHOUT PLATFORM        PARALLEL BAR WITH PLATFORM

SUSPENSION THERAPY TABLE

FEATURES

Simple yet effective exercise pulley for upper arm & shoulders great for recovery after surgery or injuries for improving strength and mobility

Enhances range of motion for frozen shoulder or post recovery after surgery

Easy to assemble and store when not in use

Innovative pope length adjustment

The multi-use model features large handles with assistive grip

PODIATRY CHAIR

The electric podiatry chair is designed for biomechanics and multi-disciplinary use both in clinics and surgeries with the added benefit of motorized Trendelenburg seat tilt , greatly enhancing patient comfort

Examination / surgery chair

Comfortable stable frame

Reversible arm support

Height adjustable up to 100 cm

Five motor control with hand / foot control (or)

Three motor control with gas spring control for leg

Leg length adjustable

Upholstery colour choice

Adjusted to flat table position

TRAINING STAIRS

| Pilatis Ring | Half Balance Ball ( Boso Ball ) | Donut Ball | Z Trolley |
| --- | --- | --- | --- |

| Theraband Set | Thera Loop Set |  |  | Thera Tube Set | Sesory Mat Set Of 10 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Thera band Roller | Bolster Set |  | Gel Ball |  | Nack Massager |  |
| Soft Ball | Massage Bed |  | Kinesiology Tape |  | T max Tape |  |
| Medicine Ball | Yoga Mat |  | Cupping Massage |  | Dumbbells |  |
| Dumbbells | Weight Cuff Set 500gm/1Kg/2Kg |  | Hot Packs All Size |  | Cold Packs |  |
| Hand Spring | Hand Dynamometer |  | Paraffin Wax |  | Ultrasound Jar 5Kg & 250gm |  |
| Adhesive Electrode ( Pad ) | X-Ray Viewer |  |  | Spiro metre 3 Ball | Finger Excersize |  |
| China Massager | Indian Thrive Massager |  | G-5 Massager |  | Finger Ladder |  |
| Dry Needle Tian All Size | Dry Needle Dr. Chaudhary 13*25MM Size |  | Dry Needle Dr. Chaudhary 25*25 Size |  | Dry Needle Dr. Chaudhary 25*40 Size |  |
| Magic Body Massager | Knee Massage Vibrator |  |  | Massage Facial Gun | Chiropractic Gun |  |
| Carbon Electrode ( TENS Pad ) | Sponge |  |  | Finger Power Web | Wooden Balance Board |  |
| Muligun Belt | StrapVelcrow |  |  | Neck Support | Physio Steper |  |
| Pedo Cycle | Pedo Cycle |  |  | Heel Exerciser | Ankle Exerciser |  |
| Spine Model | Human Skeleton |  |  | Hand Model | Knee Model |  |
| Hand Excerciser Table | Axial Shoulder Wheel |  |  | Motorized Shoulder Wheel | Wall Mounted Shoulder Wheel |  |
| Shoulder Wheel | Wrist Rotator |  |  | Hand Exerciser | Grip Exerciser |  |
| Oxygen & Blood Circulation Machine | Foot Massager Half |  |  | Leg Massager | Oxygen & Blood Circulation Machine Deluxe |  |
| IASTM Tools | Finger Forearm Exerciser |  |  | Hydrocollator Hot Pack Machine | Paraffin Wax Bath |  |
| ULTRASONIC 1 & 3mhz with IFT FEQUENCY | Vacuum Therapy Machine |  |  | 70 Program | Weight Machine |  |
| Ultrasound & 4 Channel TENS | Mini Muscle Stimulator |  |  | Pocket TENS | Laser Therapy |  |
| Traction Therapy | Machine 5 in 1 IFT, MS, TENS, US, DEEP HEAT |  |  | Ultrasound & 2 Channel TENS | 4 CH AUTO MODE TENS / MS 10 |  |
| IFT TOUCH IMPOTED KIT | Muscle Stimulator IMPOTED KIT |  |  | TENS 4 CH TOUCH IMPOTED KIT |  | IFT IMPOTED KIT |
| 4 CH TENS LCD + ULTRASONIC 50 P ROGM 1 MHZ | Ultrasonic therapy unit -1 &3 Mhz | IFT 125 P |  |  |  | 1 & 3 MHZ ULTRASONIC |
| Multi-function therapy Unit IFT+TENS+MS +Russian | IFT 125 PRO METAL & PLASTIC BODY BOTH | 4IN1 IFT /TENS /MS /US 50 P |  |  |  | 4IN1 IFT 125 P / US 1 MHZ |
| Combination Machine 4 in1 IFT, TENS, MS, US | 5IN1 ( IFT ,TENS, MS 125 P/ HEAT/ US 1MHZ | 4IN1 IFT 125 P / US 1 MHZ |  |  |  |  |
| Squeeze Dynamometer | Bak Leg Dynamometer | 7 pcs Evaluation Kit |  |  |  | 3 Pcs Evaluation Kit |
| Hand Dynamometer | Percussion Hammer | Two Point Discriminator |  |  |  | Goniometer |
| Inclinometer | Bouble Inclinometer | Algometer |  |  |  | Scoliometer |
| Dry Spirometer | Computrized Spirometer | Machine Trolley |  |  |  | Machine Trolley |
| Therapy Putti | Exercise Ball | Bobble Board |  |  |  | Balance Disc |
| Peanut Ball | Sensory Ball | Infra Red Lamp |  |  |  | Pilatic Ball |

FULL BODY MASSAGE CHAIR